## 2D X-ray and FTIR micro-analysis of the degradation of cadmium yellow pigment in Henri Matisse’s paintings

Abstract

The chemical and physical alteration of cadmium yellow (CdS) paints in Henri Matisse’s Le Bonheur de vivre (1905-1906, The Barnes Foundation) has been recognized since 2006, when a portable X-ray fluorescence survey identified this pigment in all altered regions of the monumental painting. This alteration is visible as fading, discoloration, chalking, flaking, and spalling of several regions of light to medium yellow paint. Since that time, synchrotron radiation (SR)-based techniques including elemental, spectroscopic, scattering, microscopic, and imaging techniques have been applied to locate and identify the alteration products observed in this and related works by Henri Matisse. This information is necessary to postulate one or multiple mechanisms  for photo-degradation of Matisse’s paints from this period, and thus ensure proper environmental conditions for the display of his works. This paper in particular focuses on 2D full-field XANES imaging, 2D micro XRD, XRF and FTIR imaging of the altered paint layers to address one of the most long-standing questions about cadmium yellow alteration – the roles of cadmium carbonates and cadmium sulphates found in the altered paint layers. These compounds have often been assumed to be photo-oxidation products, but could also be residual starting reagents from an indirect wet process synthesis of CdS. The data presented here identify and map the location of cadmium carbonates, cadmium chlorides, cadmium oxalates, cadmium sulphates, and cadmium sulphides in thin sections of altered cadmium yellow paints from Le Bonheur de vivre and Matisse’s Flower Piece (1906, The Barnes Foundation). Cadmium carbonates and sulphates are confirmed as photo-degradation products in Le Bonheur de vivre, but cadmium carbonates appear to have been a starting reagent for the yellow paint in Flower Piece, a role previously suggested in other altered yellow paints.

### Introduction

With the emergence of chemical industry during the end of the 19th century and the beginning of the 20th century, numerous new inorganic and organic pigments were developed and introduced as alternatives to the well-established traditional ones, often outclassing them thanks to their colour intensity, purity, cost, and covering power. However, in Impressionist and early modernist paintings from the turn of the 20th Century, various synthetic inorganic pigments are undergoing chemical and physical degradation phenomena ranging from fading and color shifts to spalling and flaking. As an example, the discoloration of synthetic yellow pigments has been recently reported in the cases of zinc yellow (K2O.4ZnCrO4.3H2O) [1], chrome yellow (PbCrO4) [2-6], and cadmium yellow (CdS) [7, 8].

In particular, despite a good reputation regarding its permanency, physical manifestations of photo-oxidative degradation of yellow cadmium sulphide (CdS) pigments have been observed over the past decade in works by Pablo Picasso, Vincent Van Gogh, Georges Seurat, Henri Matisse, Ferdinand Leger, Edvard Munch, and James Ensor [7-10]. This degradation leads to paint chalking, i.e. drying and crumbling, fading, flaking, spalling, and in its most advanced cases to the formation of a thick (twenty to fifty micron) ivory to tan alteration crust covering the original yellow paint.

The first systematic study of CdS pigment degradation was performed in 2005 by Leone on 12 paintings dating from 1887–1923 [9]. In this study, based on X-ray diffraction (XRD) and Scanning Electron Microscope combined with an Energy Dispersive Spectometer (SEM-EDS), the nanocrystalline / amorphous structure of CdS was identified in more than half of the corpus studied, limiting detection of the original pigment by diffraction technique. The presence of different oxidized Cd species, including cadmium carbonate (CdCO3), cadmium oxide hydroxide (Cd(OH)2), cadmium carbonate oxide (CdCO3(OH)2), and cadmium sulphate (CdSO4) at the surface of paintings was believed to be the main characteristic of the degradation process. Combined with the results on artificial mock-ups and supplementary ToF-SIMS analyses at the surface of the painting samples, a first degradation mechanism has been suggested. It is based on the photo-oxidation of CdS pigment producing CdO, CdSO4, and SO2 gas, which in the presence of high relative humidity environments, is proposed to convert to H2SO4 resulting in acid hydrolysis of the paint binding medium.

In 2009 and 2012, Van der Snickt et al. extended the study of CdS degraded pigment to James Ensor and Vincent van Gogh’s paintings using synchrotron radiation (SR)-based techniques [7, 8]. In the case of Still Life with Cabbage of James Ensor[7], the degradation of yellow CdS was related to the oxidation of the cadmium sulphide to (hydrated) cadmium sulphate (CdSO4·nH2O), which in the case of recurring moistening and drying of the paint surface explained the presence of a thin (a few microns thick) layer of semi-transparent whitish globules of CdSO4·nH2O on the surface of the CdS-based paint. A notable outcome of this study was the identification of (NH4)2·Cd2(SO4)3 paint, certainly related to a previous aggressive cleaning treatment, e.g. with diluted ammonia. Two supplementary degradation products were identified in the case of the Flowers in a blue vase of Vincent Van Gogh [8]: cadmium oxalates (CdC2O4) and lead sulphate (PbSO4). The presence of varnish which was unlikely original, applied after the instigation of the CdS deterioration, may have induced respectively the precipitation of Cd2+ and SO42- ions after complexation with C2O42- and Pb2+ provided by alteration of varnish coating. This reaction is hypothesized to be responsible for the formation of the thin layer of CdC2O4 on the top of the painting surface, as well as for the presence of PbSO4 in the varnish.

Simultaneously, Mass et al., from the Conservation Department of the Winterthur Museum, initiated a study to characterize visible changes observed in cadmium yellow areas of The Barnes Foundation’s The Joy of life (Henri Matisse, 1905-6, Barnes Foundation 719, Figure 1a) in particular for preservation purposes. Studies were carried out on different synchrotron facilities: at ID21 (ESRF) [11], at BL4-3 (SSRL) [11] and at IRENI (Synchrotron Radiation Center, SRC) [12, 13]. By combining micro Fourier Transform InfraRed (µFTIR) spectroscopy with micro X-Ray Fluorescence (µXRF) and micro X-Ray Near Edge Structure (µXANES) spectroscopy (at the Cd LIII-edge and at the S K-edge in scanning mode) spectra over dozens of points were collected, and degradation products were identified in the altered cadmium yellow area from the darkened yellow foliage at the upper left of the work (3 samples: S111, S112, S113 in Figure 1b), the yellow fruit in the tree with an ivory alteration crust at the upper right, (1 sample: S115 in Figure 1b), and in the faded yellow field beneath the central reclining figures (2 samples: S117, S5 in Figure 1b). CdCO3 was present in high concentration in all altered region, supporting the hypothesis that it is more likely a poorly soluble photo-degradation product than a filler or residual starting reagent. In the unaltered yellow paint, the identification of CdS and CdCl2 nH2O suggests that chloride was introduced as the starting reagent for the synthesis of the cadmium yellow. CdSO4 nH2O was also found to be enriched in the off-white alteration layers of the samples studied, but as a more soluble species, it was also found elsewhere in the cross-sections. Alteration crusts identified had no remaining CdS, all of which had been oxidized to a mixture of cadmium sulphates, carbonates, and oxalates.

Accordingly, the combination of synchrotron radiation based X-ray techniques, such as μXRF, μXANES, and μXRD, is of prime importance to elucidate the degradation process of paint containing CdS yellow pigment. First, combined techniques allow the identification of minor and major components present either as amorphous / nanocrystalline materials (as in the case of CdS) or in a crystallized form. The sensitivity of these SR-techniques is critical for the identification of photo-alteration products in paintings where the degradation is not yet visible to the eye, allowing for preventive conservation measures (such as closer management of light levels and relative humidity) to be carried out when they are observed.

Second, micrometric resolution was essential to reveal the presence of the degradation/alteration layer on the painting’s surface, which is typically only a few microns thick, and to establish the stratigraphy of the alteration/degradation products. The identification alone of CdCO3 and CdSO4 ·nH2O does not constitute conclusive proof of photo-oxidation process. Both compounds are indeed known to be reagents in the wet or dry process synthesis of CdS. In this context, their identification as side products of the original synthesis or as degradation compounds relied mostly on localisation with regards to the paint layer.

But while the accurate localisation and identification of any remaining starting reagents and degradation compounds, in particular CdCO3 and CdC2O4, was started by Mass et al. [11] new results have been obtained through the use of combined full-field XANES (FF-XANES), µFTIR, µXRF and µXRD. In this context, imaging and spectroscopic enhancements offered by the analyses of specific thin-sections were envisaged to enable a deeper identification and localization of starting reagents and degradation compounds. This contributes to further elucidating the degradation phenomena under way, leading to more specific preservation recommendations, and the ability to identify degradation earlier. In particular, full-field analysis appeared as an ideal way to extend this study over a full 2D region and eliminated some of the ambiguities that can be raised using point analysis.

Experimental

### Paintings and samples location

Two micrometric fragments S111 and S5 were sampled from The joy of life painting (Figure 1a), respectively in the altered cadmium yellow paints from the darkened yellow foliage at the upper left of the work, and in the faded yellow field beneath the central reclining figures (Figure 1b), in order to complete the identification and localisation of original paint components and degradation material.

Two other fragments (named BF205-darkened and BF205-undarkened respectively) were sampled from the Flower Piece painting (Figure 1c), from both the dry and cracked darkened region below the right side of the pitcher, and the intact yellow region above the darkened area (Figure 1d) This sampling strategy was interesting in order to compare degradation phenomena in two of Matisse’s artworks, but as well to get clues on the cadmium yellow pigment synthesis.

| a) |  | c) |  |
| --- | --- | --- | --- |
| b) |  | d) |  |

Figure 1 : a)Henri Matisse, French, 1869–1954 The Joy of Life, between October 1905 and March 1906, , 69 1/2 x 94 3/4 in. (176.5 x 240.7 cm), oil on canvas, The Barnes Foundation, BF719, b) upper left zoom showing tan-brown alteration crusts on the yellow foliage and on the yellow fruit in the tree at the upper right, and zoom on the faded region below the central reclining figures, sampling location for this study are represented by black cross. c) Henri Matisse, French, 1869-1954 Flower Piece, 1906, 21 7/8 x 18 1/4 in. (55.6 x 46.4 cm), oil on canvas, The Barnes Foundation, BF205, d) altered (brown) and non-altered (yellow) regions of yellow paint to the right of the pitcher, sampling locations are represented by black cross.

### Sample preparation and mounting

In previous works, X-Ray analyses were carried out on the surface of polished cross-sections of painting fragment embedded in resin [11]. One unpublished result obtained following this classical sample preparation is detailed below (Figure 4). However, the examination of samples from historical paintings using combined elemental, molecular and structural methods is increasingly benefiting from the preparation of thin-sections [14]. Whereas ideally, hyperspectral analyses are carried out on a unique section, the sample preparation requirements (thickness, embedding media etc.) differed as a function of the techniques involved [15]. Accordingly, for this study two adapted thin section were prepared respectively one for combined XANES and XRD analyses, and another for FTIR analyses. For X-Ray based techniques, the sample was first embedded using synthetic resin (Historesin, Leica) and microtomed in order to obtain a section thinner than 20µm. The section was then maintained during acquisition between two ultralene foils (4µm thick, from Spex Sample Prep). For µFTIR analysis, micro-compression was favoured to microtome as it shelters from any spectra contamination from embedding material, mentioned in previous works [12, 13]. Considering that µXRF results are not affected by sample preparation (compressed sample between diamond windows, cross-section and thin section from embedded fragment), this method allows, together with the visible observations, the combination of results from X-ray and infrared spectroscopies.

### Analytical methods

Micro-X-ray fluorescence and chemical maps in scanning mode

µXRF data were collected at the X-ray micro-spectroscopy ID21 beamline at the European Synchroton Radiation Facilities (ESRF)[16]. Monochromatic radiation was extracted from an undulator coupled with a fixed-exit double-crystal monochromator equipped with a Si(111) crystal and focused using a Kirkpatrick-Baez mirror pair to a typical beam size is 0.2 µm ver. × 0.6 µm hor. with a flux ranging from 109 to 1010 ph/s and an energy ranging from 2 to 9keV. The samples were mounted in a vertical plane, at an angle of 60 with respect to the beam, and raster scanned in the beam using a combination of stepper motors and piezo actuators. The XRF data were collected by a single channel solid state detector. This allowed the distribution of the different elements present in the paint cross-sections, in particular of Cd- and S-containing compounds, to be imaged at sub-micron resolution. In a few cases, the elemental composition was complemented by chemical maps at sulphur edge. The energy of the incoming X-rays was set to a few particular values, where the absorption and consecutively the XRF of particular sulphur species is overexcited: at 2.4728 KeV for sulphides (S2-) and at 2.4825 keV for sulphates (S6+).

The XRF maps were batch fitted with PyMca software package[17].

Full-field XANES

The full-field (FF)-XANES consists of acquiring a stack of X-ray radiographies of a thin sample, when tuning X-ray energies across the edge of interest [18]. This novel technique allows the acquisitions of millions of XANES spectra in a quite reasonable time (less than 1 hour per acquisition) and makes possible the acquisition of full XANES spectra, over full, millimetric 2D regions.

FF-XANES data were collected at ID21 in the full-field configuration, across the S K-edge, Cl K-edge, and Cd LIII-edge. The beam size, of 1.5×1.5mm2, was defined using slits and the beam’s spatial structures were smoothed using an X-ray decoheror (graphite foil, 125 μm thick). Samples were mounted vertically, perpendicular to the beam, and radiographies were acquired with a detection ensemble comprised of a scintillator, magnifying objective and CCD camera. It resulted in images with a pixel size of 300 nm and respectively a field of view of 315 × 360 μm2.

For data analysis, the 6.105 XANES spectra acquired in full-field mode were fitted as a linear combination (LCLS) of references, using TXM Wizard [19]. The primary set of Cd reference compounds (Figure 2) was composed of: cadmium sulphate (CdSO4, 99.99 % metals basis), hydrated cadmium sulphate (CdSO4 nH2O, 99.999 % metals basis), cadmium sulphide (CdS, 99.995 % metals basis), cadmium nitrate tetrahydrate (Cd(NO3)2·4H2O, >99.999 % metals basis), cadmium oxide (CdO, >99.99 % metals basis), hydrated cadmium chloride (CdCl2 nH2O, >99.99 % metals basis), cadmium oxide (CdO, >99.99 % metals basis), cadmium carbonate (CdCO3, >99.999 % metals basis) (all purchased from Sigma Aldrich) and cadmium oxalates (synthesized at Washington and Lee University ). The final choice of references for LCLS varies from one sample to another, with regards to complementary µXRD and µFTIR results. In the case of FF-XANES measurements across S K-edge, the low energy of incoming photons led to a strong absorption from the sample. The thinnest thickness obtained by microtome was unsufficient to prevent from over-absorption effects which drastically reduced white line intensity of sulphur species, affecting spectral features and avoiding further spectral treatments. In this context, the selection of Region of Interest (ROI) characteristics of the different sulphur species present was preferred.

One of the most important assets of LCLS is its quantitative character, since it provides the relative contribution of each reference present in the mixture. However, this strategy presents an important drawback, as it necessitates an a priori knowledge of the phases present in the sample. As for single XANES LC fitting, this method relies on: i) an accurate energy calibration of references and datasets, ii) a reliable choice of references (guided for example with complementary analyses: XRD, FTIR, Raman, etc.), and iii) a reference set as close as possible to the actual composition of the sample itself to avoid differences in the background shape, in pre- and post-edge regions between references and datasets.

These constraints and the massive dataset size motivate the use of a further strategy for data analyses in the case of sample S111: the Principal Component Analyses (PCA). As a result of this method, pixels with similar XANES spectra are closer in the reduced PC space or score plot. This property is used to cluster pixels into groups in TXM-Wizard (details can be found in [20]) resulting in an image segmentation which allow the representation of the variance in XANES features.

|  | Figure 2 : Cd-XANES at the LIII edge acquired in transmission mode using FF-XANES technique. Spectra acquired on various references: cadmium sulphate (CdSO4, 99.99 % metals basis), hydrated cadmium sulphate (CdSO4 nH2O, 99.999 % metals basis), cadmium sulphide (CdS, 99.995 % metals basis), cadmium nitrate tetrahydrate (Cd(NO3)2·4H2O, >99.999 % metals basis), cadmium oxide (CdO, >99.99 % metals basis), cadmium chloride (CdCl2, >99.99 % metals basis), hydrated cadmium chloride (CdCl2 nH2O, >99.99 % metals basis), cadmium oxide (CdO, >99.99 % metals basis), cadmium carbonate (CdCO3, >99.999 % metals basis) (all purchased from Sigma Aldrich) and cadmium oxalates (synthesized at Washington and Lee University ). |
| --- | --- |

Micro X-ray diffraction

Some samples were additionally studied by µXRD at ID13 (ESRF) and P06 (PETRA III) beamlines. At ID13, the primary energy was settled to 12.9 keV by means of a Si(111) double crystal monochromator. The beam was focused with a Kirkpatrick-Baez mirror optic down to 2.5 x 1.5 μm2 (hor. x ver.). Diffraction signals were recorded in transmission geometry with a 2k x 2k FReLoN detector (50.0 (h) x 49.3 (v) µm2 pixel size).

At P06, a hard-X-ray micro- and nanoprobe beamline of the PETRA III storage ring (DESY, Hamburg, Germany), the primary energy was settled to 18 keV by means of a Si(111) double crystal monochromator [21]. The beam was focused with a Kirkpatrick-Baez mirror optic down to 1.6 x 0.6 μm2 (hor. x ver.). Diffraction signals were recorded in transmission geometry with a 2kx2k MarCCD area detector (MAR Research, CA, U.S.).

Data were unwrapped using both XRDUA [22] and PyFAI [23] softwares. Match and EVA were used as well for the preliminary phase identification. 2D maps of compounds were then generated with PyMca using ROI defined for a particular diffraction angle range (defined in Supplementary Information Part (1)).

Micro FTIR analyses

Organic compounds are known to play an important role in the degradation mechanisms of paint layer, e.g. hydrolysis of the drying oil binder, and some of the alteration products are organometallic compounds. Thus, complementary µFTIR analyses in the mid-IR domain were performed at ID21. The spectro-microscope is based on a commercial instrument, composed of a Thermo Nicolet Nexus infrared bench associated with an infrared Thermo Continuµm microscope [24]. The infrared beam was emitted from the short straight section (focusing electron lenses) upstream of a bending magnet. The edge radiation was collected, collimated and transferred to the spectrometer and microscope using a set of 12 mirrors. In the microscope, a ×32 Schwarzschild objective was used in a confocal mode and an aperture defined the spot size illuminating the sample. The signal was detected using a liquid N2 cooled single element 50 µm MCT detector. In this configuration, the beam size was 8x8µm2, and IR spectra were acquired in transmission mode using diamond compression technique.

OMNIC and PyMca were used for data analysis.

Results

The Joy of Life (1905-1906): study of the degradation process

#### S5 sample: faded yellow field beneath the central reclining figures

Following the above strategy, analyses were performed on two thin-sections from the same initial S5 fragment, already analysed in scanning mode as a cross-section [11].

Full-field XANES was acquired on an embedded thin section of 10µm (Figure 3f), at Cd-LIII edge and Cl K-edge (pixel size 0.6x0.6 μm2). Spectra were fitted with the set of references: CdS, CdCO3, CdCl2. nH2O, CdSO4.nH2O, based on the previous µXANES results [11]. Results of LSLC fitting are presented in Figure 3i. µFTIR was carried out on a fragment prepared with the micro-compression cell (Figure 3a). Chemical maps (with step size of 6x6 μm2) are presented in Figure 3d. µXRF maps were acquired at 7.2keV (step size: 1x1 μm2) on the two sections, allowing, together with the optical observations, the correlation of results obtained with the three techniques. Elemental maps obtained on pressed sample and thin embedded section are displayed in Figure 3c and 3h respectively. Additional speciation maps obtained in µXRF mode, at the sulphur K-edge, on the same sample but prepared as a cross-section, (pixel size: ) are presented in Figure 4.

Figure 3 : Combination of SR µFTIR, µXRF and full-field XANES for the study of a fragment from The Joy of Life (S5). Schematic views of results obtained with b) µFTIR and µXRF, g) full-field XANES at the Cd LIII-edge and µXRF. c-e) results from the compressed fragment displayed in a) Visible light microscope image . c) µXRF elemental maps of Cd, S and Cl (step size: 1×1 µm2). d) µFTIR maps of esters (1710-1750 cm-1), amides (1616-1700 cm-1), hydroxyls (3320-3450 cm-1), sulphates (1022-1206 cm-1), oxalates (1306-1327 cm-1) and carbonates (1342-1535 cm-1) (step size: 6×6 µm2). e) IR spectra of carbonates (point 1), poly (vynil acetate) polymer (point 2) and zein (point 3) rich area. f-i) results from the 10µm thick section displayed in f) Visible light microscope image. g) µXRF elemental maps of Cd, S and Cl (step size: 1×1 µm2). h) Speciation maps (FF XANES) of CdCO3, CdS as well as the sum of the other Cd components used in LCLS fitting (CdCl2. nH2 and CdSO4.nH2O) (pixel size: 0.3×0.3 µm2).

The results reveal a complex mixture and stratigraphy of Cd-based compounds respectively in the predominately unaltered region and the alteration crust (Figure 3b and g).

In the yellow internal region, Cd is highly concentrated (µXRF, Figure 3h) and present mainly as CdS (confirmed by XANES at Cd LIII-edge, Figure 3i and SI(2)), the original form of the pigment. XANES at Cd LIII-edge allows as well the identification of other cadmium-based species: carbonates (confirmed by µFTIR, Figure 3d), sulphates (confirmed by µFTIR, Figure 3d, and chemical maps at S K-edge, Figure 4) as well as chlorides, CdCl2 (confirmed by µXRF, Figure 3c and h, and XANES at the Cl K-edge, SI(3)). For sulphates and chlorides, improved data fitting was obtained with hydrated references.

The imaging capability combined with micrometric resolution achieved with the full-field microscope reveals that CdS is heterogeneously present in the yellow layer and intermixed with CdCO3 and CdSO4.nH2O (Figure 3).Cadmium chlorides have been previously identified in several regions of this painting (sample S115 yellow fruit in the tree at the upper right and sample S112 in the darkened upper left corner), and are thought to be the residual starting reagent for the wet process synthesis of the CdS used for this painting [11]. This conclusion is supported by our present findings where cadmium chlorides are found in internal region, rather than accumulated in the alteration crust. This is more in favour of chlorine introduced as a synthesis starting reagent than as a contamination from environment.

Concerning the white altered layer, chemical mapping highlights a complex stratigraphy mainly composed of CdCO3 (µFTIR, Figure 3d and Figure 3e point1, and XANES at Cd LIII-edge, Figure 3i and SI (2)). In the upper part of the white layer, both sulphates and oxalates are identified (µFTIR, Figure 3d, XANES at Cd LIII-edge, Figure 3i and SI (2), and chemical maps at S K-edge, Figure 4). This distribution explains the fading observed for the altered regions of the painting, since the oxalates, carbonates, and sulphates are all colorless.

The cadmium carbonates are enriched in the white superficial layer (Figure 3d and i) whereas CdS is completely absent from this region (Figure 3i and Figure 4). They can also be observed in smaller quantities in yellow paint layer. This distribution confirms similar results found in the altered yellow fruits from the same work, suggesting that the cadmium carbonate, in the off-white alteration layer, is a photo-degradation product even though it has been suggested as a residual synthesis starting reagent in other systems [10, 11].

The presence of CdC2O4 is limited to the uppermost alteration layer (Figure 3d and i and SI(2)). Also observed in the darkened foliage in the upper left corner of The Joy of Life [11], and in Van Gogh’s painting [8], this product is identified as degradation products either of residual varnish on the painting (residue of a partially removed natural resin varnish has been observed in several paint cross-section samples removed from the piece) or of the oil binder. Such degradation could be the result of a cleaning treatment, natural aging, or the breakdown of the binder during the photo-degradation process.

As seen in earlier examples of altered cadmium sulphide-containing paints, cadmium sulphates are distributed throughout the paint layer [11] (Figure 3d and i) see, for example, the data from sample S115. Figure 4 reports distribution of sulphide and sulphate species (obtained in XRF mode on cross-sections following [7]). It shows that sulphates (presumably cadmium sulphate) are dispersed in the original paint layer, but are also enriched in the surface of the off-white alteration crust. Cadmium sulphide is virtually absent in this upper layer, consistent with the absence of yellow coloration in this region, whereas it is intact beneath the alteration crust. These data are again consistent with cadmium sulphate being a photo-degradation product rather than a residual synthesis reagent in The Joy of Life paints.

Figure 4 : µXRF maps of sulphur, in The Joy of Life (BF 719), sample S5 from below the central reclining figures. A) UV picture of S5 cross-section, b) XRF maps were acquired at 2.4728, 2.4825 and 2.5189 keV highlighting the relative distribution of sulphide (red) and sulphates (green) respectively. c) Reference XANES at S K-edge of CdS and CdSO4 nH2O.

µFTIR also reveals the presence of an organic compound made of a poly(vinyl acetate) polymer (Figure 3e point2), characterized by strong absorption in C-O stretching absorption region (1300-900cm-1). This product is likely a restoration/consolidation material used to reduce flaking. Flaking and spalling were particularly problematic in this region of the painting, and several campaigns of consolidation have been carried out, in particular to allow the work to travel in 1992. In a Cd-free area of about 50µm (Figure 3c), µFTIR spectra exhibit a quite peculiar feature, characteristics of amides. Comparison with databases suggests the presence of zein characterized by a band at 3286 cm-1 from amide A (Figure 3e point3). Zein is the major storage protein of maize and was proposed as a possible base material for polymer applications in the early 20th century [25], here again it is interpreted as a restoration treatment – the painting is known to have been stabilized with a glue lining.

#### S111 sample: darkened yellow foliage

Another discoloured area of Matisse’s The Joy of Life (1905-1906) has been sampled, S111, in the darkened upper left corner of the painting. Since the fragment sampled was very small, it was impossible to apply several sample preparation strategies. The priority being the XANES analysis at the Cd and S edges, the sample was prepared as a thin-section 10μm thick. Contrary to the previous fragment, no white alteration zone was observed (Figure 5a). The white thick layer which is visible in the optical picture relates to the lead white-rich ground layer identified by µXRF analyses as a mixture of Ba and S coarse grains (certainly barium sulphates, Figure 5b), dispersed in a Pb-based matrix (lead white, Figure 5b). The degradation seemed to be limited to a few microns on the uppermost part of the Cd-yellow paint and is related to a browning of the original yellow pigment.

Figure 5 : a) Visible light microscope images of S111 10μm thick thin-section, b) µXRF elemental maps of Cl, K, S, Cd and Pb acquired at 3.7keV, c)Results of k-means clustering combined with PCA analyses of FF-XANES acquisition at Cd LIII-edge (step size: 0.7×0.7 µm2).

The section has been analysed using FF-XANES at S, Cl K-edge and Cd LIII-edge. Supplementary µXRF maps were also acquired at 3.7keV. After exposing the sample to these multiple XANES and XRF acquisitions, the resin started to melt preventing further investigation using other techniques such as FTIR or XRD. At the S K-edge, over-absorption issues prevented reliable linear combination fitting, limiting data analysis to the localisation of both sulphide and sulphate species. At the Cl K-edge, the main information is the identification of CdCl2 nH2O as a unique chlorine compound. Both results were used to confirm the ones obtained at the Cd LIII-edge. At the Cd LIII-edge, some pixels suffered from over-absorption and were set to zero (therefore not taken into account during data fitting).

LCLS results, using similar references to those used for the S5 sample, presented a large difference between experimental data and fit results. In order to limit the prerequisite knowledge about the different cadmium-based phases, PCA analysis was preferred. They allowed the identification of four clusters with relevant XANES signatures (Figure 5c): clusters 1, 3, 5 and 6 (cluster 2 and 4 are related to low absorbing area with noisy pixels and were not retained for the rest of the discussion). From each cluster, a XANES spectrum of the centroïd pixel was extracted and fitted with the complete list of references presented above.

For the four clusters, the sample composition was expressed as a mixture of CdS, CdSO4, CdSO4·nH2O, CdCO3 and CdCl2·nH2O. Consequently, the full stack was then refitted using the compounds identified, confirming PCA clustering. The fit results are summarized in Figure 5d.

Cluster 1 is representative of most of the sample. Its content in CdCO3 is higher than in other sample clusters, and is found in presence of traces of CdS and CdCl2.nH2O. On the surface of this area, cluster 3 displays a similar composition with the presence of the additional compound CdSO4.nH2O again in a few proportion compared to CdCO3. Below the surface of the left corner (yellow), cluster 5 reveals an area where CdS content increases but still in presence of relatively high amount of CdCO3. Consequently, even in CdS yellow region, CdCO3 compound is found in high content, relating the presence of CdCO3 to a possible starting reagent role [11]. However, further investigation should be carried out here, since the cadmium yellow hue in this region of the painting was intended to be a dark yellow/orange (based on comparison to 1905 studies for Le Bonheur de vivre at The San Francisco Museum of Modern Art and the Statens Museum for Kunst), and CdCO3 has typically been observed at high concentrations for the paler shades of cadmium yellow. Another explanation for the CdCO3-rich interior of this yellow paint is the relatively thin paint layer being studied here compared to sample S115 [11] or sample S5, which represents more advanced states of alteration where discrete alteration crusts are visible. In effect, the entire yellow paint layer in this case may be in the process of converting into an alteration zone.

On the surface of this area, cluster 6 presents also a particular composition. Cd is highly concentrated (μXRF) and present mainly as CdS, CdSO4 and CdCO3. The high concentration of CdS in this region of the sample may be due to the morphology of the brushstroke being observed (Figure 5a). The top of the sample would obtain more direct exposure to ambient light while the texture/impasto of the paint that causes yellow paint to appear on both the side and top of this sample may cause the paint on the side of the sample to be more protected.

Contrarily to S5, this sample is missing the thick white alteration crust, maybe explaining the lack of a distinct layering structure for the alteration products. However the location and identification of different ratio of sulfates species give information on photo-degradation advancement, since the more advanced state of photo-degradation is related to the total loss of sulphur which converted into carbonate, as seen for cluster1, whereas the presence of CaSO4 may display the photo-degradation occurring, cluster3.

However, the visible color of the degraded sample is not directly link to the identification of Cd-based compounds. Consequently supplementary XRD analyses are now mandatory to go a step further in the explanation of photo-degradation mechanism.

### Flower Piece: degradation and synthesis processes study

#### Darkened BF205 sample

Another micro-sample of cadmium yellow paint from the painting Flower Piece(1906) demonstrating photo-degradation was taken from the dry, cracked, and darkened region below the right side of the painting’s pitcher. The sample was too brittle to allow sectioning without adding strengthening material, consequently sulphur free tape was used to insure the integrity of the 10µm section during microtoming (Figure 6a). The optical stratigraphy is very similar to the one observed in the S5 sample, with a large off-white layer at the surface of the painting. Moreover, residual ground layer was also identified on the left corner of the section.

Four main experiments were carried out on this section in order to identify the degradation materials present: μXRF sulphur valence maps (step size 2(v.) x 2(h.) μm2); results are presented in Figure 6b. μXRF at 7.3keV (step size 2x2 μm2); elemental mapping are illustrated in Figure 6c. FF-XANES at Cd-LIII edge (pixel size 0.7x0.7 μm2); results of LSLC fitting are presented in Figure 6d. μXRD at 12.9keV, at ID13 (step size 2x2 μm2); phase maps based on integrating diffraction intensity over region of interest are shown in Figure 6e.

Based on these four techniques, the painting’s ground layer, paint layer and alteration layer were chemically characterized.

μXRD combined with μXRF allowed for the identification of spharelite (ZnS), barite (Ba0.99Sr0.01(SO4)), anglesite (PbSO4) and hydrocerussite (Pb3(CO2)2(OH)2) in the ground layer area. Two different ground layers were more accurately identified: the first one (most internal) contains mainly hydrocerussite with spharelite and barite on which is applied a very thin second layer containing hydrocerussite, barite with grains of anglesite. The presence of sphalerite and barite together suggests the use of lithopone, a co-precipitate of BaSO4 and ZnS introduced in 1874. The first layer may be a commercial ground, while the second has been probably prepared by Matisse himself. The anglesite was also seen by FTIR in Le Bonheur de vivre, and may result from the interaction of the unstable CdS with the lead white in the ground.

By combining FF-XANES at ID21 at the Cd LIII-edge with μXRD and μXRF at sulphide and sulphate absorption specific energies, the composition of the painting layer is defined mainly as a mixture of CdS, CdCO3 and CdSO4.nH2O.

The white degraded area is mainly composed of CdCO3 with a small amount of CdC2O4 and CdSO4.nH2O, identified by FF-XANES and μXRD, similar to what was observed for samples S5 and S115 [11]. A small increase of the CdC2O4 and CdSO4.nH2O content is observed in FF-XANES data, at the surface of this area, however no clear stratigraphy inside the degraded area was observed from XRD results.

The high concentration of CdCO3 in the off-white alteration crust of the paint layer may suggest that this compound is a photo-oxidation product as well as CdSO4.nH2O and CdC2O4. However, the presence of CdCO3 in high amount in the paint layer also suggests that it may have been initially present as a filler or residual starting reagent for this work. The latter possibility is less likely since CdCO3, used as cadmium white, would have been an expensive filler[10].

Figure 6 : a) Optical image of BF205 darkened sample prepared as 10μm thick thin-section(bottom), b)Sulphide and sulphate distribution from sulphur valence maps in μXRF (step size: 1x1.2μm2), c) Elemental maps results from fit of XRF map (step size: 2x2μm2), d) LCLS fitting results of fullfield stack acquired at Cd LIII-edge on the thin-section using CdS, CdCO3, CdCl2 nH2 and CdSO4 nH2O (pixel size: 0.7x0.7μm2), e) μXRD maps of spharelite (ZnS), barite (Ba0.99Sr0.01(SO4)), anglesite (PbSO4), hydrocerusite (Pb3(CO2)2(OH)2), CdS, Cadmium oxalate (CdC2O4), Cadmium sulphate hydrated (CdSO4 nH2O), and otavite (CdCO3) (step size:2x2μm2).

#### Undarkened BF205 sample

Cadmium carbonate (CdCO3), as illustrated above, has been identified in the altered cadmium yellow (CdS) paints found Impressionist, early modernist, and post-Impressionist works. However, when unclear stratigraphy is present and CdCO3 is distributed throughout the paint layer, conclusion about its role at paint layer scale is not straightforward. If it were formed solely as a result of photo-alteration it would not be expected to migrate away from the painting’s surface, since CdCO3 is highly insoluble (Ksp of 1.0 ×10-12). In cadmium yellow paints in works such as Edvard Munch’s c. 1910 The Scream (The Munch Museum, Oslo), the hypothesis that CdCO3 is present because this compound was used in the indirect wet process synthesis of CdS (through, for example, the reaction of CdCO3 and Na2S) have been recently proposed [10, 11].

To address this question of CdCO3’s role, a flake of non-degraded (to the naked eye) pale cadmium yellow paint was removed from Henri Matisse’s Flower Piece so that the distribution of CdCO3 could be studied, both as a function of depth in the paint layer and in individual pigment particles. Figure 7a shows the visible fluorescence of the ultraviolet-illuminated paint cross-section removed from Flower Piece. The sample is from the lemon cadmium paint to the right of the pitcher that exhibits no visual evidence of photo-alteration. In the top half of this sample, the cadmium yellow is dispersed in a zinc white base, and individual cadmium sulphide particles are visible here due to their orange fluorescence in the ultraviolet. A 15μm thick thin-section was prepared from visually non degraded painting fragment from the lemon cadmium area Figure 7b.

| a) |  | b) |  |
| --- | --- | --- | --- |

Figure 7 :a) Lemon cadmium paint cross-section from Flower Piece (BF 205) showing cadmium yellow particles dispersed in a zinc white matrix (405 nm illumination), b) Optical image of the lemon-hued cadmium paint prepared as thin-section, 15μm thick.

Three main experiments were carried out on the section presented in Figure 8b in order to identify possible residual starting reagents: μXRD at 21keV, at P06 (step size 2x2 μm2), results presented in Figure 8b , FF-XANES at ID21 at S K-edge (pixel size 0.7x0.7 μm2), analysed as ROI (SI(4)), FF-XANES at ID21 at Cd-LIII edges (pixel size 0.7x0.7 μm2), analysed by LCLS and presented in Figure 8c.

The Cd concentration map using FF results at Cd LIII-edge, reveals that cadmium-containing particles show up as “hot spots” evenly dispersed throughout the zinc white base. The presence of CdCO3 grains is established by FF- XANES, at the Cd-LIII edge, and by μXRD analyses (Figure 8b and c). The Cd LIII FF-XANES results may suggest the presence of cadmium sulphide and sulphate rings surrounding the CdCO3 spots. This result is confirmed by sulphide and sulphate maps acquired at S K-edge in FF-XANES mode (SI(4)). However, from XRD analyses CdS seems to be present mostly as a diffuse component, in the vicinity of the CdCO3 grains. Even if its presence is confirmed, it is not straightforward to confirm the ring structure. With a larger step size and considering that CdS is present as nanocrystal, XRD is nevertheless less sensitive to the presence of this compound.

Without confirming ring structures of CdS or CdSO4 surrounding the CdCO3 particles, this result further suggests that these compounds are co-localised rather than CdCO3 being present as a photo-oxidation product or as a filler added to lighten the pigment. Instead, the insoluble CdCO3 residual starting reagent might have been trapped during the precipitation reaction of CdS and pulled out of solution at this point. This example might be the first confirming evidence of the precipitation process hypothesized by Plahter et al. for the role of cadmium carbonate identified in the yellow paints of the MM Scream, and it lends support to their theory. Work should be carried out to determine if this same pattern of precipitation of CdS with residual CdCO3 starting material can be observed in the MM Scream cadmium yellow paints. Analyses with better resolution and on replica indirect wet process synthesis samples should also be considered.

Figure 8 : XRD and FF-XANES acquisition on the thin section presented in a). b) μ-XRD maps of CdS and otavite (CdCO3) (step size: 2x2μm2), and μ-XRD Q-patterns acquired on CdS rich grain, c) CdS, CdCO3 and CdSO4.nH2O maps obtained by FF-XANES at the Cd L-III edge, and example of LCLS fitting result of single pixel XANES spectra acquired in rich CdCO3, CdS and CdSO4.nH2O area.

### Conclusion

The composition of sub-millimeter fragments from Le Bonheur de vivre and Flower Piece cadmium yellow paints as a function of depth using SR-µFTIR, µXRF, µXRD and FF-XANES imaging confirmed that CdCO3, Cd2O4 and CdSO4 nH2O are photo-degradation products rather than paint fillers, or, in the case of Le Bonheur de vivre, a residual synthesis reagent.

These colorless compounds are responsible for the observed fading of the cadmium yellow paint in Le Bonheur de vivre (the oxalates formed are likely also a result of the degradation of the paint binder and/or residual varnish that has led to the chalking and flaking of the paint in the faded regions too). Despite the high solubility that causes cadmium sulphate to migrate through the paint layers in many of the samples studied, cadmium sulphate is also identified as a photo-degradation product. In the case of S5 from Le Bonheur de vivre and BF205 darkened from Flower Piece, an oxidation of the original CdS pigment, most probably induced by UV-visible irradiation and uncontrolled relative humidity, is the basis of the observed fading and discoloration. Based on previous work [8, 11], the oxidation of CdS to CdSO4.nH2O at or just below paint surface explains the formation of the CdSO4.nH2O compound which may then diffuse through the paint layer. As suggested [11], this compound can then react with CO2 to form CdCO3, with higher insolubility (Ksp of 1.0x10-12) explaining the presence of CdCO3 as end product of a series of photo-degradation reactions. Alternatively, a tertiary process involving the further breakdown of cadmium oxalate into cadmium carbonate cannot be excluded. The surface enrichment of CdSO4.nH2O in the case of S5 suggests that while CdSO4·nH2O has the potential solubility to migrate through the paint layer, surface accumulation resulting from photo-degradation can also be observed. The presence and the location of CdC2O4 are for the moment difficult to further explain, although TOF-SIMS data from this same painting (see this volume) shows that long chain fatty acids are depleted in the regions of CdS alteration, suggesting that the acid hydrolysis of the binding medium is one mechanism for the formation of oxalate anions. Alternatively, the presence of varnish, as observed in the case of the S5 sample, may have partially dissolved CdSO4 and freed Cd2+ ions, which in turn may then have precipitated out with C2O42- instead of SO42-, explaining the formation of a cadmium oxalate film [8].

In parallel, the pale brownish appearance of S111 sample appears rather to be organic in nature as no evidence for the formation of dark brown photo-degradation product was established. However as developed in [11], the surface soil in the interstices of the crumbling paint surface may represents a degradation pathway that may be enhanced by diluted H2SO4 produced during photo-oxidation process in a high relative humidity environment. As a result of the acid hydrolysis of the drying oil paint binder, the presence of dilute H2SO4 may also result in the formation of chromophores contributing to the darkened appearance. In this case further organic analyses of the paint are mandatory to describe the observed darkening.

Both the intact lemon cadmium paint and photo-oxidized cadmium yellow paint from Henri Matisse’s Flower Piece were examined by UV and VIS photomicroscopy, SEM-EDS and FF-XANES. The composition of the intact lemon cadmium paint from Flower Piece reveals that the cadmium carbonate is present within each cadmium sulphide pigment particle visible in this sample because the individual cadmium yellow pigment particles are suspended in a zinc white base. The lack of any accumulation of cadmium carbonate at the sample’s surface, and its distribution being coincident with that of the cadmium sulphide particles, indicates that the paint used by Henri Matisse in this work is a CdS/CdCO3 mixed-precipitate from the indirect wet process synthesis of cadmium yellow with CdCO3 being a starting reagent entrained in the CdS precipitate. This finding provides physical evidence supporting the theory of Plahter et al. that cadmium carbonate-rich cadmium yellow paints in the first decade of the 20th century are likely prepared by the indirect wet process method, and not invariably indicative of photo-alteration. Consequently in the case of photo-oxidized paint, the high ratio of CdCO3 compounds present in yellow paint may be related to starting reagent, whereas white crust may combined both CdCO3 starting reagent and CdCO3 second degradation products of photo alteration as it is found in presence of CdSO4 nH2O and CdC2O4.

In conclusion, the access to both molecular and structural mapping capabilities by combining FF-XANES, µXRF, µXRD and µFTIR in 2D is opening new possibilities for the rigorous study of painting degradation products and mechanisms, and more generally in the micro-analysis of artworks for the benefit of these works’ long term preservation.

1.	Zanella, L., et al., The darkening of zinc yellow: XANES speciation of chromium in artist's paints after light and chemical exposures. Journal of Analytical Atomic Spectrometry, 2011. 26(5): p. 1090-1097.

2.	Monico, L., et al., Degradation Process of Lead Chromate in Paintings by Vincent van Gogh Studied by Means of Synchrotron X-ray Spectromicroscopy and Related Methods. 2. Original Paint Layer Samples. Analytical Chemistry, 2011. 83(4): p. 1224-1231.

3.	Monico, L., et al., Degradation Process of Lead Chromate in Paintings by Vincent van Gogh Studied by Means of Synchrotron X-ray Spectromicroscopy and Related Methods. 1. Artificially Aged Model Samples. Analytical Chemistry, 2011. 83(4): p. 1214-1223.

4.	Monico, L., et al., Degradation Process of Lead Chromate in Paintings by Vincent van Gogh Studied by Means of Spectromicroscopic Methods. 3. Synthesis, Characterization, and Detection of Different Crystal Forms of the Chrome Yellow Pigment. Analytical chemistry, 2012. 85(2): p. 851-859.

5.	Monico, L., et al., Degradation Process of Lead Chromate in Paintings by Vincent van Gogh Studied by Means of Spectromicroscopic Methods. 4. Artificial Aging of Model Samples of Co-Precipitates of Lead Chromate and Lead Sulfate. Anal. Chem, 2013. 85(2): p. 860-867.

6.	Monico, L., et al., Degradation Process of Lead Chromate in Paintings by Vincent van Gogh Studied by Means of Spectromicroscopic Methods. Part 5. Effects of Nonoriginal Surface Coatings into the Nature and Distribution of Chromium and Sulfur Species in Chrome Yellow Paints. Analytical chemistry, 2014. 86(21): p. 10804-10811.

7.	Van der Snickt, G., et al., Characterization of a Degraded Cadmium Yellow (CdS) Pigment in an Oil Painting by Means of Synchrotron Radiation Based X-ray Techniques. Analytical Chemistry, 2009. 81(7): p. 2600-2610.

8.	Van der Snickt, G., et al., Combined use of Synchrotron Radiation Based Micro-X-ray Fluorescence, Micro-X-ray Diffraction, Micro-X-ray Absorption Near-Edge, and Micro-Fourier Transform Infrared Spectroscopies for Revealing an Alternative Degradation Pathway of the Pigment Cadmium Yellow in a Painting by Van Gogh. Analytical Chemistry, 2012. 84(23): p. 10221–10228.

9.	Leone, B., et al. The deterioration of cadmium sulphide yellow artists' pigments. in Triennial meeting (14th), The Hague, 12-16 September 2005: preprints. 2005. James & James.

10.	Plahter, U. and B. Topalova-Casadiego, The Scream by Edvard Munch: painting techniques and colouring materials, in Studying Old Master Paintings Technology and Practice The National Gallery Technical Bulletin 30th Anniversary Conference Postprints, ed. by M. Spring (London: Archetype, 2011) 2011: p. pp. 244–252.

11.	Mass, J.L., et al., The photodegradation of cadmium yellow paints in Henri Matisse’s Le Bonheur de vivre (1905–1906). Applied Physics A, 2013. 111(1): p. 59-68.

12.	Patterson, C.S., et al., Synchrotron-based Imaging FTIR Spectroscopy in the Evaluation of Painting Cross-sections. e-Preservation Science, 2013. 10.

13.	Mass, J., et al., SR-FTIR imaging of the altered cadmium sulfide yellow paints in Henri Matisse's Le Bonheur de vivre (1905-6) - examination of visually distinct degradation regions. Analyst, 2013. 138(20): p. 6032-6043.

14.	Pouyet, E., et al., Thin-sections of painting fragments: opportunities for combined synchrotron-based micro-spectroscopic techniques. Heritage Science, 2015. 3(1): p. 3.

15.	Pouyet, E., et al., Preparation of thin-sections of painting fragments: Classical and innovative strategies. Analytica chimica acta, 2014. 822: p. 51-59.

16.	Salomé, M., et al., The ID21 Scanning X-ray Microscope at ESRF. Journal of Physics: Conference Series, 2013. 425(18): p. 182004.

17.	Sole, V.A., et al., A multiplatform code for the analysis of energy-dispersive X-ray fluorescence spectra. Spectrochimica Acta - Part B Atomic Spectroscopy, 2007. 62(1): p. 63-68.

18.	Fayard, B., et al., The new ID21 XANES full-field end-station at ESRF. Journal of Physics: Conference Series, 2013. 425(19): p. 192001.

19.	Liu, Y., et al., TXM-Wizard: a program for advanced data collection and evaluation in full-field transmission X-ray microscopy. Journal of synchrotron radiation, 2012. 19(2): p. 281-287.

20.	Boesenberg, U., et al., Mesoscale Phase Distribution in Single Particles of LiFePO4 following Lithium Deintercalation. Chemistry of Materials, 2013. 25(9): p. 1664-1672.

21.	Schroer, C.G., et al., Hard X-ray nanoprobe at beamline P06 at PETRA III. Nuclear Instruments and Methods in Physics Research Section A: Accelerators, Spectrometers, Detectors and Associated Equipment, 2010. 616(2-3): p. 93-97.

22.	De Nolf, W., F. Vanmeert, and K. Janssens, XRDUA: crystalline phase distribution maps by two-dimensional scanning and tomographic (micro) X-ray powder diffraction. Journal of Applied Crystallography, 2014. 47(3): p. 1107-1117.

23.	Kieffer, J. and D. Karkoulis. PyFAI, a versatile library for azimuthal regrouping. in Journal of Physics: Conference Series. 2013. IOP Publishing.

24.	Susini, J., et al., Why infrared spectromicroscopy at the ESRF ? ESRF Newsletter, 2005. 41: p. 24-25.

25.	Saviello, D., et al., Synchrotron-based FTIR microspectroscopy for the mapping of photo-oxidation and additives in acrylonitrile–butadiene–styrene model samples and historical objects. Analytica Chimica Acta, 2014. 843(0): p. 59-72.

SI(1) Table of 2theta angle ranges selected for mapping the different compounds identified by µXRD.

SI(2) Cd LIII-edge spectra. The spectra in black were recorded on the sample displayed in Figure 2f. One pixel XANES has been extracted from: the unaltered area (1), rich in CdS, the uppermost part of degraded layer (2), rich in CdC2O4, and from the center of the degraded layer (3) typical from a pure CdCO3 compound. The dotted line in black were acquired from reference powders CdS, CdSO4 · H2O and CdCO3. Red spectra represents the LCLS fit results for each spectrum using CdCO3, CdS, CdCl2. nH2 and CdSO4.nH2O references.

SI(3) Comparaison of CdCl2 nH2O reference and XANES spectrum from one pixel of the undegraded area of sample S5 displayed in Figure 2f. The experimental XANES was acquired in FF mode at Cl K-edge.

SI(4) Sulphide and sulphate distribution maps acquired at S K-edge in FF-XANES mode. The maps are based on the selection of ROI defined on XANES spectra  extracted from a sum over 600 pixels selected in the sulfide rich area.